## Absolute bias
FRIEDMAN NONPARAMETRIC REPEATED-MEASURE ANOVA |  |  |  |  | version:1.0
OVERALL TEST RESULTS |  |  |  |  | test date:04.10.2013
T2: 36,814
df1: 12
df2: 744
p: 0,0000
MULTIPLE COMPARISON OF GROUPS
* = significant at p<0,0500
critical difference: 1,2444
|  | MAKERGAUL | MAKERGAUL_C | 5PSM | Cy0 | DART | FPK_PCR | FPLM | LinRegPCR | LRE qPCR Emax | LRE qPCR E100 | MAK2 | PCR_Miner | Standart-Cq
| mean_rank | 6.83 | 6.3 | 9.08 | 2.13 | 8.67 | 9.06 | 7.95 | 6.6 | 9.29 | 7.46 | 7.3 | 8.24 | 2.1
MAKERGAUL | 6.83 | - | N S | * | * | * | * | N S | N S | * | N S | N S | * | *
MAKERGAUL_C | 6.3 | N S | - | * | * | * | * | * | N S | * | N S | N S | * | *
5PSM | 9.08 | * | * | - | * | N S | N S | N S | * | N S | * | * | N S | *
Cy0 | 2.13 | * | * | * | - | * | * | * | * | * | * | * | * | N S
DART | 8.67 | * | * | N S | * | - | N S | N S | * | N S | N S | * | N S | *
FPK_PCR | 9.06 | * | * | N S | * | N S | - | N S | * | N S | * | * | N S | *
FPLM | 7.95 | N S | * | N S | * | N S | N S | - | * | * | N S | N S | N S | *
LinRegPCR | 6.6 | N S | N S | * | * | * | * | * | - | * | N S | N S | * | *
LRE qPCR Emax | 9.29 | * | * | N S | * | N S | N S | * | * | - | * | * | N S | *
LRE qPCR E100 | 7.46 | N S | N S | * | * | N S | * | N S | N S | * | - | N S | N S | *
MAK2 | 7.3 | N S | N S | * | * | * | * | N S | N S | * | N S | - | N S | *
PCR_Miner | 8.24 | * | * | N S | * | N S | N S | N S | * | N S | N S | N S | - | *
Standart-Cq | 2.1 | * | * | * | N S | * | * | * | * | * | * | * | * | -

## Liniarity
FRIEDMAN NONPARAMETRIC REPEATED-MEASURE ANOVA |  |  |  |  | version:1.0
OVERALL TEST RESULTS |  |  |  |  | test date:04.10.2013
T2: 82,949
df1: 12
df2: 744
p: 0,0000
MULTIPLE COMPARISON OF GROUPS
* = significant at p<0,0500
critical difference: 1,0274
|  | MAKERGAUL | MAKERGAUL_C | 5PSM | Cy0 | DART | FPK_PCR | FPLM | LinRegPCR | LRE qPCR Emax | LRE qPCR E100 | MAK2 | PCR_Miner | Standart-Cq
| mean_rank | 6.46 | 5.21 | 7.84 | 3.21 | 9.75 | 12.17 | 10.44 | 4.02 | 11.08 | 5.76 | 5.59 | 4.9 | 4.57
MAKERGAUL | 6.46 | - | * | * | * | * | * | * | * | * | N S | N S | * | *
MAKERGAUL_C | 5.21 | * | - | * | * | * | * | * | * | * | N S | N S | N S | N S
5PSM | 7.84 | * | * | - | * | * | * | * | * | * | * | * | * | *
Cy0 | 3.21 | * | * | * | - | * | * | * | N S | * | * | * | * | *
DART | 9.75 | * | * | * | * | - | * | N S | * | * | * | * | * | *
FPK_PCR | 12.17 | * | * | * | * | * | - | * | * | * | * | * | * | *
FPLM | 10.44 | * | * | * | * | N S | * | - | * | N S | * | * | * | *
LinRegPCR | 4.02 | * | * | * | N S | * | * | * | - | * | * | * | N S | N S
LRE qPCR Emax | 11.08 | * | * | * | * | * | * | N S | * | - | * | * | * | *
LRE qPCR E100 | 5.76 | N S | N S | * | * | * | * | * | * | * | - | N S | N S | *
MAK2 | 5.59 | N S | N S | * | * | * | * | * | * | * | N S | - | N S | N S
PCR_Miner | 4.9 | * | N S | * | * | * | * | * | N S | * | N S | N S | - | N S
Standart-Cq | 4.57 | * | N S | * | * | * | * | * | N S | * | * | N S | N S | -

## Reproducability
FRIEDMAN NONPARAMETRIC REPEATED-MEASURE ANOVA |  |  |  |  | version:1.0
OVERALL TEST RESULTS |  |  |  |  | test date:04.10.2013
T2: 92,478
df1: 12
df2: 744
p: 0,0000
MULTIPLE COMPARISON OF GROUPS
* = significant at p<0,0500
critical difference: 0,9952
|  | MAKERGAUL | MAKERGAUL_C | 5PSM | Cy0 | DART | FPK_PCR | FPLM | LinRegPCR | LRE qPCR Emax | LRE qPCR E100 | MAK2 | PCR_Miner | Standart-Cq
| mean_rank | 6.14 | 5.83 | 7.7 | 3.73 | 9.78 | 11.71 | 10.73 | 2.63 | 11.43 | 6.19 | 5.7 | 5.13 | 4.3
MAKERGAUL | 6.14 | - | N S | * | * | * | * | * | * | * | N S | N S | * | *
MAKERGAUL_C | 5.83 | N S | - | * | * | * | * | * | * | * | N S | N S | N S | *
5PSM | 7.7 | * | * | - | * | * | * | * | * | * | * | * | * | *
Cy0 | 3.73 | * | * | * | - | * | * | * | * | * | * | * | * | N S
DART | 9.78 | * | * | * | * | - | * | N S | * | * | * | * | * | *
FPK_PCR | 11.71 | * | * | * | * | * | - | N S | * | N S | * | * | * | *
FPLM | 10.73 | * | * | * | * | N S | N S | - | * | N S | * | * | * | *
LinRegPCR | 2.63 | * | * | * | * | * | * | * | - | * | * | * | * | *
LRE qPCR Emax | 11.43 | * | * | * | * | * | N S | N S | * | - | * | * | * | *
LRE qPCR E100 | 6.19 | N S | N S | * | * | * | * | * | * | * | - | N S | * | *
MAK2 | 5.7 | N S | N S | * | * | * | * | * | * | * | N S | - | N S | *
PCR_Miner | 5.13 | * | N S | * | * | * | * | * | * | * | * | N S | - | N S
Standart-Cq | 4.3 | * | * | * | N S | * | * | * | * | * | * | * | N S | -

## Resolution
FRIEDMAN NONPARAMETRIC REPEATED-MEASURE ANOVA |  |  |  |  | version:1.0
OVERALL TEST RESULTS |  |  |  |  | test date:04.10.2013
T2: 123,050
df1: 12
df2: 744
p: 0,0000
MULTIPLE COMPARISON OF GROUPS
* = significant at p<0,0500
critical difference: 0,9093
|  | MAKERGAUL | MAKERGAUL_C | 5PSM | Cy0 | DART | FPK_PCR | FPLM | LinRegPCR | LRE qPCR Emax | LRE qPCR E100 | MAK2 | PCR_Miner | Standart-Cq
| mean_rank | 6.16 | 5.37 | 8.03 | 3.33 | 10.08 | 12.3 | 10.59 | 2.78 | 11.49 | 6.13 | 5.59 | 4.89 | 4.27
MAKERGAUL | 6.16 | - | N S | * | * | * | * | * | * | * | N S | N S | * | *
MAKERGAUL_C | 5.37 | N S | - | * | * | * | * | * | * | * | N S | N S | N S | *
5PSM | 8.03 | * | * | - | * | * | * | * | * | * | * | * | * | *
Cy0 | 3.33 | * | * | * | - | * | * | * | N S | * | * | * | * | *
DART | 10.08 | * | * | * | * | - | * | N S | * | * | * | * | * | *
FPK_PCR | 12.3 | * | * | * | * | * | - | * | * | N S | * | * | * | *
FPLM | 10.59 | * | * | * | * | N S | * | - | * | N S | * | * | * | *
LinRegPCR | 2.78 | * | * | * | N S | * | * | * | - | * | * | * | * | *
LRE qPCR Emax | 11.49 | * | * | * | * | * | N S | N S | * | - | * | * | * | *
LRE qPCR E100 | 6.13 | N S | N S | * | * | * | * | * | * | * | - | N S | * | *
MAK2 | 5.59 | N S | N S | * | * | * | * | * | * | * | N S | - | N S | *
PCR_Miner | 4.89 | * | N S | * | * | * | * | * | * | * | * | N S | - | N S
Standart-Cq | 4.27 | * | * | * | * | * | * | * | * | * | * | * | N S | -

## Changed variabillity
FRIEDMAN NONPARAMETRIC REPEATED-MEASURE ANOVA |  |  |  |  | version:1.0
OVERALL TEST RESULTS |  |  |  |  | test date:04.10.2013
T2: 92,478
df1: 12
df2: 744
p: 0,0000
MULTIPLE COMPARISON OF GROUPS
* = significant at p<0,0500
critical difference: 0,9952
|  | MAKERGAUL | MAKERGAUL_C | 5PSM | Cy0 | DART | FPK_PCR | FPLM | LinRegPCR | LRE qPCR Emax | LRE qPCR E100 | MAK2 | PCR_Miner | Standart-Cq
| mean_rank | 6.14 | 5.83 | 7.7 | 3.73 | 9.78 | 11.71 | 10.73 | 2.63 | 11.43 | 6.19 | 5.7 | 5.13 | 4.3
MAKERGAUL | 6.14 | - | N S | * | * | * | * | * | * | * | N S | N S | * | *
MAKERGAUL_C | 5.83 | N S | - | * | * | * | * | * | * | * | N S | N S | N S | *
5PSM | 7.7 | * | * | - | * | * | * | * | * | * | * | * | * | *
Cy0 | 3.73 | * | * | * | - | * | * | * | * | * | * | * | * | N S
DART | 9.78 | * | * | * | * | - | * | N S | * | * | * | * | * | *
FPK_PCR | 11.71 | * | * | * | * | * | - | N S | * | N S | * | * | * | *
FPLM | 10.73 | * | * | * | * | N S | N S | - | * | N S | * | * | * | *
LinRegPCR | 2.63 | * | * | * | * | * | * | * | - | * | * | * | * | *
LRE qPCR Emax | 11.43 | * | * | * | * | * | N S | N S | * | - | * | * | * | *
LRE qPCR E100 | 6.19 | N S | N S | * | * | * | * | * | * | * | - | N S | * | *
MAK2 | 5.7 | N S | N S | * | * | * | * | * | * | * | N S | - | N S | *
PCR_Miner | 5.13 | * | N S | * | * | * | * | * | * | * | * | N S | - | N S
Standart-Cq | 4.3 | * | * | * | N S | * | * | * | * | * | * | * | N S | -

## Ranking
| Absolute Bias | Liniarity | Reproducability | Resolution
MAKERGAUL | 6.83 | 6.46 | 6.14 | 6.16
MAKERGAUL_C | 6.3 | 5.21 | 5.83 | 5.37
5PSM | 9.08 | 7.84 | 7.7 | 8.03
Cy0 | 2.13 | 3.21 | 3.73 | 3.33
DART | 8.67 | 9.75 | 9.78 | 10.08
FPK_PCR | 9.06 | 12.17 | 11.71 | 12.3
FPLM | 7.95 | 10.44 | 10.73 | 10.59
LinRegPCR | 6.6 | 4.02 | 2.63 | 2.78
LRE qPCR Emax | 9.29 | 11.08 | 11.43 | 11.49
LRE qPCR E100 | 7.46 | 5.76 | 6.19 | 6.13
MAK2 | 7.3 | 5.59 | 5.7 | 5.59
PCR_Miner | 8.24 | 4.9 | 5.13 | 4.89
Standart-Cq | 2.1 | 4.57 | 4.3 | 4.27

## Mean ranking
FRIEDMAN NONPARAMETRIC REPEATED-MEASURE ANOVA |  |  |  |  | version:1.0
OVERALL TEST RESULTS |  |  |  |  | test date:04.10.2013
T2: 34,655
df1: 12
df2: 36
p: 0,0000
MULTIPLE COMPARISON OF GROUPS
* = significant at p<0,0500
critical difference: 2,0994
|  | MAKERGAUL | MAKERGAUL_C | 5PSM | Cy0 | DART | FPK_PCR | FPLM | LinRegPCR | LRE qPCR Emax | LRE qPCR E100 | MAK2 | PCR_Miner | Standart-Cq
| mean_rank | 7 | 4.75 | 9.75 | 1.75 | 10 | 12.5 | 10.25 | 2 | 12.25 | 7.25 | 5.75 | 5.25 | 2.5
MAKERGAUL | 7 | - | * | * | * | * | * | * | * | * | N S | N S | N S | *
MAKERGAUL_C | 4.75 | * | - | * | * | * | * | * | * | * | * | N S | N S | *
5PSM | 9.75 | * | * | - | * | N S | * | N S | * | * | * | * | * | *
Cy0 | 1.75 | * | * | * | - | * | * | * | N S | * | * | * | * | N S
DART | 10 | * | * | N S | * | - | * | N S | * | * | * | * | * | *
FPK_PCR | 12.5 | * | * | * | * | * | - | * | * | N S | * | * | * | *
FPLM | 10.25 | * | * | N S | * | N S | * | - | * | N S | * | * | * | *
LinRegPCR | 2 | * | * | * | N S | * | * | * | - | * | * | * | * | N S
LRE qPCR Emax | 12.25 | * | * | * | * | * | N S | N S | * | - | * | * | * | *
LRE qPCR E100 | 7.25 | N S | * | * | * | * | * | * | * | * | - | N S | N S | *
MAK2 | 5.75 | N S | N S | * | * | * | * | * | * | * | N S | - | N S | *
PCR_Miner | 5.25 | N S | N S | * | * | * | * | * | * | * | N S | N S | - | *
Standart-Cq | 2.5 | * | * | * | N S | * | * | * | N S | * | * | * | * | -

## All test values
| Absolute bias |  | Liniarity |  | Reproducability |  | Resolution |  | Mean rank |  | Friedman subsets
Cy0 | 2.13 | 2 | 3.21 | 1 | 3.73 | 2 | 3.33 | 2 | 1.75 | 1 | 1
LinRegPCR | 6.6 | 4 | 4.02 | 2 | 2.63 | 1 | 2.78 | 1 | 2 | 2 | 1
Standart-Cq | 2.1 | 1 | 4.57 | 3 | 4.3 | 3 | 4.27 | 3 | 2.5 | 3 | 1
MAKERGAUL_C | 6.3 | 3 | 5.21 | 5 | 5.83 | 6 | 5.37 | 5 | 4.75 | 4 |  | 2
PCR_Miner | 8.24 | 9 | 4.9 | 4 | 5.13 | 4 | 4.89 | 4 | 5.25 | 5 |  | 2 | 3
MAK2 | 7.3 | 6 | 5.59 | 6 | 5.7 | 5 | 5.59 | 6 | 5.75 | 6 |  | 2 | 3
MAKERGAUL | 6.83 | 5 | 6.46 | 8 | 6.14 | 7 | 6.16 | 8 | 7 | 7 |  |  | 3
LRE qPCR E100 | 7.46 | 7 | 5.76 | 7 | 6.19 | 8 | 6.13 | 7 | 7.25 | 8 |  |  | 3
5PSM | 9.08 | 12 | 7.84 | 9 | 7.7 | 9 | 8.03 | 9 | 9.75 | 9 |  |  |  | 4
DART | 8.67 | 10 | 9.75 | 10 | 9.78 | 10 | 10.08 | 10 | 10 | 10 |  |  |  | 4
FPLM | 7.95 | 8 | 10.44 | 11 | 10.73 | 11 | 10.59 | 11 | 10.25 | 11 |  |  |  | 4 | 5
LRE qPCR Emax | 9.29 | 13 | 11.08 | 12 | 11.43 | 12 | 11.49 | 12 | 12.25 | 12 |  |  |  |  | 5 | 6
FPK_PCR | 9.06 | 11 | 12.17 | 13 | 11.71 | 13 | 12.3 | 13 | 12.5 | 13 | [5 empty] | 6