Table 1:

Comparative analysis of absolute bias, linearity, reproducibility and resolution of each method

| Algorithm | Absolute bias | Linearity | Reproducibility | Resolution | Mean rank | Friedman subset |
| --- | --- | --- | --- | --- | --- | --- |
| Cy0 | 2.13 (2) | 3.21 (1) | 3.73 (2) | 3.330 (2) | 1.75 (1) | 1 |
| LinRegPCR | 6.60 (4) | 4.02 (2) | 2.63 (1) | 2.780 (1) | 2.00 (2) | 1 |
| Standart-Cq | 2.10 (1) | 4.57 (3) | 4.30 (3) | 4.270 (3) | 2.50 (3) | 1 |
| MAKERGAUL_C | 6.30 (3) | 5.21 (5) | 5.83 (6) | 5.370 (5) | 4.75 (4) | 2 |
| PCR_Miner | 8.24 (9) | 4.90 (4) | 5.13 (4) | 4.890 (4) | 5.25 (5) | 2 3 |
| MAK2 | 7.30 (6) | 5.59 (6) | 5.70 (5) | 5.590 (6) | 5.75 (6) | 2 3 |
| MAKERGAUL | 6.83 (5) | 6.46 (8) | 6.14 (7) | 6.160 (8) | 7.00 (7) | 3 |
| LRE qPCR E100 | 7.46 (7) | 5.76 (7) | 6.19 (8) | 6.130 (7) | 7.25 (8) | 3 |
| 5PSM | 9.08 (12) | 7.84 (9) | 7.70 (9) | 8.030 (9) | 9.75 (9) | 4 |
| DART | 8.67 (10) | 9.75 (10) | 9.78 (10) | 10.080 (10) | 10.00 (10) | 4 |
| FPLM | 7.95 (8) | 10.44 (11) | 10.73 (11) | 10.590 (11) | 10.25 (11) | 4 5 |
| LRE qPCR Emax | 9.29 (13) | 11.08 (12) | 11.43 (12) | 11.490 (12) | 12.25 (12) | 5 6 |
| FPK_PCR | 9.06 (11) | 12.17 (13) | 11.71 (13) | 12.300 (13) | 12.50 (13) | 6 |

Please note: The first four columns contain the rank of the method for the performance parameters absolute bias, linearity, reproducibility, and resolution. It ranks the methods’ average performance over all 63 genes. The number in parentheses shows the rank of the methods’ performance per indicator. The fifth column contains the methods’ average rank over all performance parameters. The last column shows the subgroups of methods which have a similar performance considering the four parameters.